Biocompatibility Test Matrix

|  | Device Categories |  | Initial Evaluation |  |  |  |  |  |  |  | Supplemental Evaluation |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Nature Body Contact | Contact Duration | Cytotoxicity | Sensitization | Irritation or Intracutaneous reactivity | Systemic Toxicity (Acute) Pyrogenicity | Subchronic Toxicity | Genetotoxicity | Implantation | Hemocompatibility | Chronic Toxicity | Cytotoxicity |
| Surface Device | Skin | A B C | * * * | * * * | * * * |  |  |  |  |  |  |  |
|  | Mucosal Membrane | A B C | * * * | * * * | * * * | ® ® | ® * | * | ® ® |  | ® |  |
|  | Breached/Compromised surface | A B C | * * * | * * * | * * * | ® ® ® | ® * | * | ® ® |  | ® |  |
| External Communicating Devices | Blood Path Indirect | A B C | * * * | * * * | * * ® | * * * | ® * | * | ® | * * * | * | * |
|  | Tissue/Bone dentin Communicating | A B C | * * * | * * * | * ® ® | ® ® ® | ® ® | * * | * * |  | ® | * |
|  | Circulating Blood | A B C | * * * | * * * | * * * | * * * | ® * | ® * * | ® ® | * * * | * | * |
| Implant Devices | Bone/Tissue | A B C | * * * | * * * | * ® ® | ® ® ® | ® ® | * * | * * |  | * | * |
|  | Blood | A B C | * * * | * * * | * * * | * * * | ® * | * * | * * * | * * * | * | * |
| A: Limited Exposure (<24 hrs) , B: Prolonged Exposure (24 hrs to 30 days), C: Permanent Contact (> 30 days) * FDA/ ISO Evaluation Test ® Additional Evaluation test |  |  |  |  |  |  |  |  |  |  |  |  |